## Slide 1: 27 Math Review Part 3 Interpolation

## Slide 2: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42

## Slide 3: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42

## Slide 4: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
300 CFM = drop in w.g.?
Step 1: CFM Total Difference : 400 – 200 = 200

## Slide 5: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 2: CFM Ratio Factor : 400 – 300 = 100
300 CFM = drop in w.g.?

## Slide 6: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 2: CFM Ratio Factor : 400 – 300 = 100
Step 3: CFM Ratio: 100 ÷ 200 = 0.5
Step 1: CFM Total Difference : 400 – 200 = 200
300 CFM = drop in w.g.?

## Slide 7: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 4: w.g. total difference: .09 –.04 = 0.05
Step 3: CFM Ratio: 100 ÷ 200 = 0.5
300 CFM = drop in w.g.?

## Slide 8: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 4: w.g. total difference: .09 –.04 = 0.05
Step 3: CFM Ratio: 100 ÷ 200 = 0.5
300 CFM = drop in w.g.?

## Slide 9: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 5: CFM Ratio is multiplied by the w.g. total difference: 0.5 x 0.05 = 0.025
Step 2: CFM Ratio Factor : 400 – 300 = 100
300 CFM = drop in w.g.?

## Slide 10: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 5: 0.5 x 0.05 = 0.025
Step 6: Final Answer: 0.09 - 0.025 = 0.065
300
0.065
300 CFM = drop in w.g.?

## Slide 11: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
375 CFM = w.g.?
Step 1: CFM Total Difference: 400 – 200 = 200

## Slide 12: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 2: CFM Ratio Factor: 400 – 375 = 25
Step 1: CFM Total Difference: 400 – 200 = 200
375 CFM = w.g.?

## Slide 13: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 3: CFM Ratio: 25 ÷ 200 = 0.125
Step 2: CFM Ratio Factor: 400 – 375 = 25
375 CFM = w.g.?
Step 1: CFM Total Difference: 400 – 200 = 200

## Slide 14: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 4 w.g. Total Difference: .09 - .04 = 0.05
Step 3 CFM Ratio: 25 ÷ 200 = 0.125
375 CFM = w.g.?

## Slide 15: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 5: CFM Ratio is multiplied by the w.g. total difference: 0.125 x 0.05 = 0.00625
375 CFM = w.g.?

## Slide 16: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 6: .09 - .00625 = .08375
Step 5: 0.125 x 0.05 = 0.00625
.08375
375 CFM
375 CFM = w.g.?

## Slide 17: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
If wet coil w.g. is 0.188 what is the CFM?
Step 1: w.g. Total Difference: 0.29 – 0.17 = .12

## Slide 18: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 1: w.g. Total Difference: 0.29 – 0.17 = .12
Step 2: w.g. Ratio Factor: 0.29 – 0.188 = 0.102
w.g. 0.188 - CFM?

## Slide 19: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 3: w.g. Ratio: 0.102 ÷ 0.12 = 0.85
Step 2: w.g. Ratio Factor: 0.29 – 0.188 = 0.102
w.g. 0.188 - CFM?
Step 1: w.g. Total Difference: 0.29 – 0.17 = .12

## Slide 20: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 4: CFM Total Difference: 800 – 600 = 200
Step 3: w.g Ratio: 0.102 ÷ 0.12 = 0.85
w.g. 0.188 - CFM?

## Slide 21: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 5: w.g. Ratio is multiplied by the CFM total difference: 0.85 x 200 = 170
w.g. 0.188 - CFM?

## Slide 22: Interpolation
Air Resistance Across The Coil |  |  | 
Model Number | Air Volume CFM | Dry Coil in. w.g. | Wet Coil in. w.g.
XYZ | 200 | 0.03 | 0.04
 | 400 | 0.08 | 0.09
 | 600 | 0.14 | 0.17
 | 800 | 0.22 | 0.29
 | 1000 | 0.31 | 0.42
Step 6: 800 – 170 = 630
Step 5: 0.85 x 200 = 170
0.188
630 CFM
w.g. 0.188 - CFM?