## Slide 1: Lesson 1 Friction Chart Primer 1.3 Friction Chart

## Slide 2
What happens if there are less than 100 ft of Duct?
?
?
?

## Slide 3
What happens if there are less than 100 ft. of Duct?
The duct size will work and the duct system will
operate efficiently and quietly.
However, the formula may be used to decrease
the size of the duct so the designed total equivalent
Length is the same throughout the duct system.

## Slide 4
What happens if there are more than 100 ft of duct?
?
?
?

## Slide 5
What happens if there are more than 100 ft of duct?
The duct size will not work and the duct system will
not operate efficiently and quietly.

## Slide 6
What happens if there are more than 100 ft of duct?
The duct size will not work and the duct system will
not operate efficiently and quietly.
Formula:
Friction Loss = SDP x 100 ÷ TEL of Duct
Where:
SDP = System Design Pressure
TEL = Total Equivalent Length of Duct

## Slide 7
Example: For a 150 CFM output, the TEL is
200 ft. and the system design pressure is 0.3,
what would the friction Loss be?
Friction Loss = SDP x 100 ÷ TEL of Duct
Friction Loss = 0.3 x 100 ÷ 200 = 0.15

## Slide 8
Example: For a 150 CFM output, the TEL is
200 ft. and the system design pressure is 0.3,
what would the friction loss per 100 ft. be?
Friction Loss = SDP x 100 ÷ TEL of Duct
Friction Loss = 0.3 x 100 ÷ 200 = 0.15
Thus, to actually allow 150 CFM to pass through,
the duct would have to be designed for a 0.15 friction loss

## Slide 9
The Friction Chart can
use the adjusted friction
rate and CFM to select
the required duct size:
CFM = 150
Friction Rate = 0.15

## Slide 10
The Friction Chart can
use the adjusted friction
rate and CFM to select
the required duct size:
CFM = 150
Friction Rate = 0.15
7” duct is the size that
meets this requirement

## Slide 11
The Friction Chart can
use the adjusted friction
rate and CFM to select
the required duct size:
CFM = 150
Friction Rate = 0.15
7” duct is the size that
meets this requirement

## Slide 12
Is There an easy way to Convert
System Design Pressures for Total
Equivalent Lengths?
?
?
?

## Slide 13
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
Table for Converting System Design Pressure
(total pressure drop in the duct) and Total Equivalent
Length of Duct to Friction Loss

## Slide 14
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
A duct has a SDP of 0.3 in. water column
and a TEL of 191 ft. Find the friction loss using
The table below:

## Slide 15
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
A duct has a SDP of 0.3 in. water column
and a TEL of 191 ft. Find the friction loss using
The table below:

## Slide 16
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
A duct has a SDP of 0.3 in. water column
and a TEL of 191 ft. Find the friction loss using
The table below:
Thus, the duct size will be larger

## Slide 17
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
A duct has a SDP of 0.3 in. water column
and a TEL of 46 ft. Find the friction loss using
The table below:

## Slide 18
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
A duct has a SDP of 0.3 in. water column
and a TEL of 46 ft. Find the friction loss using
The table below:

## Slide 19
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
A duct has a SDP of 0.3 in. water column
and a TEL of 46 ft. Find the friction loss using
The table below:
Thus, the duct size will be smaller

## Slide 20
Equivalent Length of Duct (ft) | TOTAL PRESSURE DROP IN DUCT (In. of water column) |  |  |  |  |  |  |  | 
 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
35-44 | 0.13 | 0.18 | 0.25 | 0.38 | 0.50 | 0.63 | 0.75 | 1.00 | 1.25
45-54 | 0.10 | 0.14 | 0.20 | 0.30 | 0.40 | 0.50 | 0.60 | 0.80 | 1.00
55-64 | 0.08 | 0.12 | 0.17 | 0.25 | 0.33 | 0.42 | 0.50 | 0.67 | 0.83
65-74 | 0.07 | 0.10 | 0.14 | 0.21 | 0.29 | 0.36 | 0.43 | 0.57 | 0.72
75-84 | 0.06 | 0.09 | 0.13 | 0.19 | 0.25 | 0.31 | 0.38 | 0.50 | 0.63
85-94 | 0.06 | 0.08 | 0.11 | 0.17 | 0.22 | 0.28 | 0.33 | 0.45 | 0.56
95-104 | 0.05 | 0.07 | 0.10 | 0.15 | 0.20 | 0.25 | 0.30 | 0.40 | 0.50
105-114 | 0.05 | 0.06 | 0.09 | 0.14 | 0.18 | 0.23 | 0.28 | 0.37 | 0.46
115-129 | 0.04 | 0.06 | 0.08 | 0.12 | 0.17 | 0.21 | 0.25 | 0.33 | 0.42
130-149 | 0.04 | 0.05 | 0.07 | 0.11 | 0.14 | 0.18 | 0.21 | 0.29 | 0.36
150-169 | 0.03 | 0.04 | 0.06 | 0.09 | 0.13 | 0.16 | 0.19 | 0.25 | 0.31
170-189 | 0.03 | 0.04 | 0.06 | 0.08 | 0.11 | 0.14 | 0.17 | 0.22 | 0.28
190-214 | 0.03 | 0.04 | 0.05 | 0.08 | 0.10 | 0.13 | 0.15 | 0.20 | 0.25
215-239 | 0.02 | 0.03 | 0.05 | 0.07 | 0.09 | 0.11 | 0.13 | 0.18 | 0.22
240-264 | 0.02 | 0.03 | 0.04 | 0.06 | 0.08 | 0.10 | 0.12 | 0.16 | 0.20
265-289 | 0.02 | 0.03 | 0.04 | 0.05 | 0.07 | 0.09 | 0.11 | 0.15 | 0.18
290-324 | 0.02 | 0.03 | 0.03 | 0.05 | 0.07 | 0.08 | 0.10 | 0.13 | 0.17
325-374 | 0.02 | 0.02 | 0.03 | 0.04 | 0.06 | 0.07 | 0.09 | 0.11 | 0.14
375-424 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10 | 0.13
425-474 | 0.01 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.07 | 0.09 | 0.11
475-524 | 0.01 | 0.02 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.08 | 0.10
525-574 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.07 | 0.09
575-625 | 0.01 | 0.01 | 0.02 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.08
A duct has a SDP of 0.3 in. water column
and a TEL of 46 ft. Find the friction loss using
The table below:

## Slide 21
In conclusion:
The air friction chart is a valuable tool a
designer can use to make sure the proper
amount of airflow can be delivered through
a duct system when the airflow is balanced.