## Slide 1: Day 3 Part 1 Technician’s Guide & Workbook for Home Evaluation and Performance Improvement

## Slide 2: Room Pressure Differences

## Slide 3: Room Pressure Differences
The Technician needs to measure the pressure difference between the house, or a zone conditioned by an HVAC system (with reference to [wrt] the outdoors [OD]), and each isolated room (wrt the OD), excluding bathrooms. This test is designed to identify where there may be problems with airflow back to the HVAC equipment when doors are closed.

## Slide 4: Room Pressure Differences
The lack of return air can be directly related to room temperature differences and comfort issues. In a worst case, the test may also identify hazardous combustion conditions due to a lack of combustion air in the appliance area when the doors are closed.

## Slide 5: Step 1 Room Pressure Differences
The Technician measures the pressure changes that occur within the main area, or main zone, when the HVAC system is operating, using a tool that measures pressure differences. All exterior doors and windows are closed, and all interior doors are opened, and the HVAC system is turned on to establish the baseline conditions.

## Slide 6: Step 2 Room Pressure Differences
The home’s pressures need to stabilize this takes about 5-10 minutes, then the Technician measures the base-line pressure difference in the house with respect to the outdoors. To do this, measurement tubing must be run to the outdoors from a room so that the meter can read the pressure outside versus the pressure inside the room.

## Slide 7: Step 3 Room Pressure Differences
The Technician then measures the pressure difference for the isolated rooms (excluding bathrooms), by closing each room’s door, and measuring the pressure difference in that room with respect to the outdoors.

## Slide 8: Step 3 Room Pressure Differences
The Technician then measures the pressure difference for the isolated rooms (excluding bathrooms), by closing each room’s door, and measuring the pressure difference in that room with respect to the outdoors.

## Slide 9: Acceptable Documentation
Test date.
Location.
Name of Technician.
Tool(s) used and calibration data.
Copy of the table or room to outdoor pressure differences (and measured CFM where applicable).

## Slide 10: Water Heating Appliances 3.7

## Slide 11: Fossil Fuel Hot Water Heaters

## Slide 12: Electric Hot Hater Heaters

## Slide 13: Tankless Water Heater

## Slide 14: Point of Service Water Heaters

## Slide 15: Water Safety Inspection
Safety Valve and Piping

## Slide 16: Water Safety Inspection
Safety Drain Pan and Piping

## Slide 17: Water Heating and Appliances
The Technician needs to record the nameplate information.

## Slide 18: Acceptable Documentation
Written or recorded records (e.g., photo) of all hot water heaters with data on age and efficiency.
Written or recorded records (e.g., photo) of all available hot water heater serial and model numbers.

## Slide 19: Appliance Inspection 3.8

## Slide 20: Appliances
For appliances the following information needs to be recorded.
Age and efficiency (use answers to interview questions);
Condition;
Quantity and location.

## Slide 21: Appliances
Data Plates Include Appliance Age

## Slide 22: Appliances

## Slide 23: Appliances
Tray Holding Tabs

## Slide 24: Appliances

## Slide 25: Appliances

## Slide 26: Acceptable Documentation
Written or recorded records (e.g., photo) of all appliances with data on age and efficiency.
Written or recorded records (e.g., photo) of all available appliance serial and model numbers.

## Slide 27: Moisture 3.9

## Slide 28: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains

## Slide 29: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains

## Slide 30: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains

## Slide 31: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains

## Slide 32: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains

## Slide 33: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains

## Slide 34: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains.

## Slide 35: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains.

## Slide 36: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains

## Slide 37: Moisture Issues
Indications of condensation, roof leaks, foundation leaks, ground-water intrusion, ice damming, and plumbing leaks, as well as signs of mold, mildew, insect damage, efflorescence, and stains.

## Slide 38: Pools & Spas 3.10

## Slide 39: Pools and Spas Energy
Pools and spas need to be evaluated for energy savings. Check for the following energy related items:
Pool and/or spa size.
Pump sizes and age (variable speed?).
Automated controls.

## Slide 40: Pools and Spas Energy
Pools and spas need to be evaluated for energy savings. Check for the following energy related items:
Pool and/or spa size.
Pump sizes and age (variable speed?).
Automated controls.

## Slide 41: Pools and Spas Energy
Pools and spas need to be evaluated for energy savings. Check for the following energy related items:
Pool and/or spa size.
Pump sizes and age (variable speed?).
Automated controls.

## Slide 42: Pools and Spas Energy
Lighting type.
Heating and/or cooling system type.
Pool cover.
Filter type and size.

## Slide 43: Pools and Spas Energy
Lighting type.
Heating and/or cooling system type.
Pool cover.
Filter type and size.

## Slide 44: Pools and Spas Energy
Lighting type.
Heating and/or cooling system type.
Pool cover.
Filter type and size.

## Slide 45: Pools and Spas Energy
Lighting type.
Heating and/or cooling system type.
Pool cover.
Filter type and size.

## Slide 46: Pools and Spas Safety
Additionally, due to the danger related to swimmers becoming stuck to the older style of water covers for drains, or missing covers, it is strongly recommended that they be checked.

## Slide 47: Acceptable Procedures
      The Technician needs to record each energy-saving opportunity while performing the home audit. For evaluating pool efficiencies and safety, the following items need to be visually inspected:
      Safety: Note type of suction inlet cover(s) and flow rating.
      The pump motor horsepower, type of controls, and timers being used for the pool or spa.

## Slide 48: Unsafe Conditions 3.13

## Slide 49: Hazardous Conditions
All identified potential combustion appliance safety hazards that could become a problem when related energy retrofit work is completed. Plan for combustion air, and additional fresh air when sealing is planned for the home as part of the retrofit work.

## Slide 50
Combustion Safety

## Slide 51
Combustion Safety

## Slide 52
Back Draft?

## Slide 53
Vent Sizing?

## Slide 54
Vent Installation?

## Slide 55: Signs of Damaged Appliances

## Slide 56: Hazardous Materials
    Presence of hazardous materials or improper storage of combustible materials.
Batteries,
Pesticides
Mercury
Florescent Bulbs
Flammables
Toxic Chemicals

## Slide 57: Acceptable Documentation
Written documentation for all of the hazardous and potential home damaging items listed in this section.
Test date.
Location.
Name of Technician.
Pictures and notes on items identified.