## Slide 1: Technician’s First Guide and Workbook Section 5: HVAC Maintenance Tools (2)

## Slide 2: Sheet Metal Snips

## Slide 3: Common Sheet Metal Tools

## Slide 4: Common Duct Board Tools

## Slide 5: HVACR Specialty Tools

## Slide 6: Valve Stem Removal Tool

## Slide 7: Refrigerant Pipe Bending Tools

## Slide 8: Pipe Cutting Tools

## Slide 9: Common Saw Types

## Slide 10: Battery Powered Drill

## Slide 11: Multi-Meter With True RMS

## Slide 12: Refrigerant Gauges

## Slide 13: Refrigerant Leak Detection

## Slide 14: Brazing Tools

## Slide 15: Leak, Pressure Test and Brazing

## Slide 16: Pressure Differential Tools

## Slide 17: Temperature & Humidity Measuring Tools

## Slide 18: Vacuum Tools

## Slide 19: Refrigerant Recovery Tools

## Slide 20: Lessons Learned
You should now be able to identify common types of sheet metal snips.
You should now be able to identify types of brazing tools.
You should now be able to explain why a vacuum needs to be pulled on an HVAC system that has been opened up for repairs.
You should now be able to recognize tools used for HVACR repairs and evaluations.