## Slide 1: Manual J8ae -2011 SPEEDSHEET Long House Block Load

## Slide 5: MJae SPEEDSHEET

## Slide 6: MJae SPEEDSHEET
Free download available at:
WWW.ACCA.ORG/SPEEDSHEET

## Slide 7: MJae SPEEDSHEET
A sample load calculations using the SPEEDSHEET:

## Slide 8: SPEEDSHEET Location

## Slide 9: SPEEDSHEET Location
Blue and Yellow Colored Boxes on the Speedsheet are either
a scroll down choice, or fill in automatically:
Can Not Be Changed!

## Slide 10: SPEEDSHEET Location T
White Boxes with red lettering may be changed if required by local code exceptions.

## Slide 11: SPEEDSHEET Location

## Slide 12: SPEEDSHEET Glass

## Slide 13: SPEEDSHEET Glass

## Slide 14: SPEEDSHEET Glass
Type in values from Table 2A/3A in the Manual J8

## Slide 15: SPEEDSHEET Glass

## Slide 16: SPEEDSHEET Glass

## Slide 17: SPEEDSHEET Glass

## Slide 18: SPEEDSHEET Glass

## Slide 19: SPEEDSHEET Glass

## Slide 20: SPEEDSHEET Glass

## Slide 21: SPEEDSHEET Glass

## Slide 22: SPEEDSHEET Glass

## Slide 23: SPEEDSHEET Glass

## Slide 24: SPEEDSHEET Glass
No sky lights so, proceed to doors.

## Slide 25: SPEEDSHEET Doors

## Slide 26: SPEEDSHEET Doors

## Slide 27: SPEEDSHEET Doors

## Slide 28: SPEEDSHEET Doors

## Slide 29: SPEEDSHEET Doors

## Slide 30: SPEEDSHEET Doors

## Slide 31: SPEEDSHEET Doors

## Slide 32: SPEEDSHEET Walls

## Slide 33: SPEEDSHEET Walls

## Slide 34: SPEEDSHEET Walls

## Slide 35: SPEEDSHEET Walls

## Slide 36: SPEEDSHEET Walls

## Slide 37: SPEEDSHEET Walls

## Slide 38: SPEEDSHEET Walls

## Slide 39: SPEEDSHEET Walls

## Slide 40: SPEEDSHEET Walls

## Slide 41: SPEEDSHEET Walls

## Slide 42: SPEEDSHEET Walls

## Slide 43: SPEEDSHEET Ceilings

## Slide 44: SPEEDSHEET Ceilings

## Slide 45: SPEEDSHEET Ceilings

## Slide 46: SPEEDSHEET Ceilings

## Slide 47: SPEEDSHEET Ceilings

## Slide 48: SPEEDSHEET Ceilings

## Slide 49: SPEEDSHEET Ceilings

## Slide 50: SPEEDSHEET Floors

## Slide 51: SPEEDSHEET Floors

## Slide 52: SPEEDSHEET Floors

## Slide 53: SPEEDSHEET Floors

## Slide 54: SPEEDSHEET Floors

## Slide 55: SPEEDSHEET Floors

## Slide 56: SPEEDSHEET Floors

## Slide 57: SPEEDSHEET Floors

## Slide 58: SPEEDSHEET Infiltration

## Slide 59: SPEEDSHEET Infiltration
From the drawings, total heated and cooled area in sq. ft:
(29 x 27) + ( 1,479) = 2,262
Note: Shop area not included has it’s own heat and no cooling.

## Slide 60: SPEEDSHEET Infiltration
From the drawings above grade heated and cooled
volume in cu. ft:
(3 x 29 x 27) + ( 1479 x 8) = 14,181

## Slide 61: SPEEDSHEET Room Load
Line 12: Infiltration
Note: Manual J8 eyeball interpolations resulted in values of 6,944 and 565 respectively.

## Slide 62: SPEEDSHEET Internal Gains

## Slide 63: SPEEDSHEET Internal Gains
Occupants = number of bedrooms + 1
Occupants = number of bedrooms + 1

## Slide 64: SPEEDSHEET Internal Gains
Appliance BTUH selected 2,400

## Slide 65: SPEEDSHEET Block Load
Line 13: Internal Gains

## Slide 66: SPEEDSHEET Block Load
Line 14: Total Sensible Loss or Gain Sub Totals (nothing to fill in)

## Slide 67: SPEEDSHEET Duct Loss & Gain
Note: ½ of the duct is in the uncooled basement. Thus, it is all exposed to a latent heat gain when the cooling system shuts down. No heat loss will be calculated for heating since the areas have auxiliary heating.

## Slide 68: SPEEDSHEET Duct Loss & Gain

## Slide 69: SPEEDSHEET Duct Loss & Gain

## Slide 70: SPEEDSHEET Duct Loss & Gain
127= Supply duct installed sq. ft. surface area.
Note: 0.048 is exact interpolation value. Thus, latent load is less than in text which uses
an “eyeball interpolation”.

## Slide 71: SPEEDSHEET Duct Loss & Gains
Line 15: Duct Loss & Gains
Note: In J8 different value of 0.56 (eyeball)

## Slide 72: SPEEDSHEET Ventilation
No ventilation air added.

## Slide 73: SPEEDSHEET Ventilation
Line 16: No ventilation & no combustion air.

## Slide 74: SPEEDSHEET Blower Heat Gain

## Slide 75: SPEEDSHEET Blower Heat Gains
No lines 17 & 18 on Speedsheet* Line 19: Blower Heat Gains
*Not supported in the Jae: Line 17 is for winter humidification loads, and Line 18 is for piping loads.

## Slide 76: SPEEDSHEET Block Load
Line 20: Total Sensible Loss or Gain…..Nothing to enter.

## Slide 77: SPEEDSHEET Plants Latent Load
No plants.

## Slide 78: SPEEDSHEET Block Load
Line 21: Latent Load Occupants
Note: In J8 wrong value of 1,200 printed

## Slide 79: SPEEDSHEET Block Load

## Slide 80: SPEEDSHEET Block Load

## Slide 81: SPEEDSHEET Block Load
Fill In Window Net Areas
Note: HTM x Net Area = BTUH

## Slide 82: SPEEDSHEET Block Load
Fill In Door Net Areas

## Slide 83: SPEEDSHEET Block Load
Fill In Wall Net Areas

## Slide 84: SPEEDSHEET Block Load
Fill In Ceiling Net Areas

## Slide 85: SPEEDSHEET Block Load
Fill In Basement Floor Net Area

## Slide 86: SPEEDSHEET Block Load
Infiltration Automatically Populated
Note: Manual J8 eyeball interpolations resulted in values of 6,944 and 565 respectively.

## Slide 87: SPEEDSHEET Block Load
Sensible Gain + Latent Gain = Cooling Load 18,004 + 1,805 = 19,809
Heating Load Sensible Only = 40,453

## Slide 88: SPEEDSHEET Block Load
Sensible Gain + Latent Gain = Cooling Load 18,004 + 1,805 = 19,809
In J8: 18,130 + 1,798* = 19,928 or 0.59% more
Heating Load Sensible Only = 40,453
In J8: 41,304 or 2.01%
*Corrected for typo of 1,200 instead of 800 on line 21B in Manual J8

## Slide 89: SPEEDSHEET Block Load
Thus; “eyeball interpolations by author” within 2%

## Slide 90: SPEEDSHEET Block Load Summary Report

## Slide 91: SPEEDSHEET Block Load Summary Report
You should now be able to do a block load.
Using the speedsheet calculate how much the loads change when the windows are single pane and have no shading?
Hint: Use different values from Table 2A

## Slide 92: Instructor Notes
Manual J8 used a different heated square footage for the shop with a space heater. To do this with the Speedsheet you would need to do two separate sheets. Thus, the Speedsheet uses the heated and cooled volume (not including the shop area).
The J8 form line 21 B has a typo or error for occupant latent heat. Should be 4 occupants at 200 = 800 (not 1,200).
The eyeball interpolation and rounding differences found in the Speedsheet totals makes a small difference in the total values.
WAR is the wall area ratio. For a Block load it is 1, and for Room X Room loads the individual room percentages add up to 1.