## Slide 1: Duct Design Basics Lesson 3 Calculations

## Slide 2: Residential Example 3.3

## Slide 3
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Given:
Blower 1050 CFM @ 0.55 IWC
Component Pressure Loss Total = 0.29
TEL = 168 + 169 = 337 ft.
Galvanized Duct

## Slide 4
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Given:
Blower 1050 CFM @ 0.55 IWC
Component Pressure Loss Total = 0.29
TEL = 168 + 169 = 337 ft.
Available Static Pressure = 0.55 – 0.29 = 0.26
Galvanized Duct

## Slide 5
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Given:
Blower 1050 CFM @ 0.55 IWC
Component Pressure Loss Total = 0.29
TEL = 168 + 169 = 337 ft.
168 ft
169 ft
Galvanized Duct

## Slide 6
Example – Residential System
337 ft. aligned with 0.26 pressure loss

## Slide 7
Example – Residential System
Friction Rate = 0.0766
337 ft. aligned with 0.26 pressure loss

## Slide 8
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Friction Rate 0.0766 and:
290 CFM
370 CFM
1050 CFM
290 CFM
370 CFM
1050 CFM
Galvanized Duct

## Slide 9
Example – Residential System
Friction Rate 0.0766 and 290 CFM

## Slide 10
Example – Residential System
Friction Rate 0.0766 and 290 CFM
7 x 10 will work

## Slide 11
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Friction Rate 0.0766 and:
290 CFM
370 CFM
1050 CFM
290 CFM
370 CFM
1050 CFM
Galvanized Duct

## Slide 12
Example – Residential System
Friction Rate 0.0766 and 370 CFM
7 x 12 will work

## Slide 13
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Friction Rate 0.0766 and:
290 CFM
370 CFM
1050 CFM
290 CFM
370 CFM
1050 CFM
Galvanized Duct

## Slide 14
Example – Residential System
Friction Rate 0.0766 and 1,050 CFM
7 x 30 or 14 x 14 will work

## Slide 15
Example – Residential System
Friction Rate 0.0766 and 1,050 CFM
7 x 30 or 14 x 14 will work
So will a 15” Round Duct

## Slide 16
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Friction Rate 0.0766 and:
290 CFM
370 CFM
1050 CFM
290 CFM
370 CFM
1050 CFM
Galvanized Duct
15” Round

## Slide 17
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Friction Rate 0.0766 and:
290 CFM
370 CFM
1050 CFM
290 CFM
370 CFM
1050 CFM
Galvanized Duct
15” Round
10” Round

## Slide 18
Example – Residential System
100 CFM
110 CFM
130 CFM
100 CFM
140 CFM
80 CFM
120 CFM
90 CFM
100 CFM
80 CFM
400 CFM
650 CFM
Friction Rate 0.0766 and:
290 CFM
370 CFM
1050 CFM
290 CFM
370 CFM
1050 CFM
Galvanized Duct
15” Round
10” Round
10” Round