## Slide 1: 4.0 Equipment Installation Aspects (Section 4.4 Electrical Requirements)

## Slide 2: Electrical Requirements
Electrical safety verification of the following is required:
LINE and LOW VOLTAGES are per equipment (single- and three-phase) rating nameplate - the percentage (or amount) below or above nameplate values are within OEM specifications and/or code requirements,
AMPERAGES are per equipment (single- and three-phase) rating nameplate - the percentage (or amount) below or above nameplate values are within OEM specifications and/or code requirements,
LINE and LOW-VOLTAGE wiring sizes per NEC (National Electric Code), or equivalent,
GROUNDING/BONDING per NEC, or equivalent.

## Slide 3: Quick Review
Ω = V ÷ A
V = A x Ω
A = V ÷ Ω
1789-1854
George Simon Ohm

## Slide 4: Fuse
Fuses must be sized correctly also the complete
listing must be correct e.g Time delay & class.

## Slide 5: Fuse

## Slide 6: Fuse
Some fuse types clearly show when they
are blown, others (center) not so much.

## Slide 7: Fuse
Fuses can be tested with an ohm meter
When the power is removed or when they
Are removed from the circuit.

## Slide 8: Michael Faraday
1791- 1867
Electromagnetism
Electrochemistry
His research laid the foundation for many electrical components we use today.

## Slide 9: Transformers
A = V ÷ Ω

## Slide 10: Transformers

## Slide 11: Relays

## Slide 12: Compressor/Condenser Contactor
Power In
Power Out
Control Voltage
Contact Points

## Slide 13: DC Motor
Ω Resistance
Armature
Brush
Commutator

## Slide 14: International System Of Numbers (SI) Farad = Unit Of Capacitance Josiah Latimer Clark
F = A x s ÷ V
A= Ampere
s = second
V = Voltage
Capacitance is a
bodies ability to
store a charge

## Slide 15: Capacitor

## Slide 16: Capacitor

## Slide 17: Capacitor
MFD = 10-6 F
Or 1 millionth of a Farad

## Slide 18: AC Motor Parts
Ω Resistance

## Slide 19: Alessandro Giuseppe Antonio Anastasio Volta 1745-1827
V = A x Ω
Electrical potential is measured in a unit called
the volt

## Slide 20: Volt Meter

## Slide 21: Voltage To ground

## Slide 22: Condenser/Compressor/Fan Voltage

## Slide 23: Condenser Fan Motor Voltage

## Slide 24: Compressor/Fan Voltage

## Slide 25: Furnace/Evaporator Fan Motor Voltage

## Slide 26: Furnace/Evaporator Fan Motor Voltage

## Slide 27: Heat Strip Voltage

## Slide 28: Heat Strip Voltage

## Slide 29: Control Boards

## Slide 30: Contactor Voltage

## Slide 31: Andre-Mari Ampere
1775-1836
SI Unit Symbol For Current (I or A)
The amount of electric charge per unit of time

## Slide 32: Condenser Fan Amperage

## Slide 33: Condenser Fan Motor Amperage

## Slide 34: Compressor Amperage
FLA- Full Load Amps
RLA- Rated Load Amps
LRA- Locked Rotor Amps

## Slide 35: Compressor Amperage

## Slide 36: Evaporator Fan Motor Amperage

## Slide 37: Evaporator Fan Motor Amperage

## Slide 38: Heat Strip Amperage Needs To be Checked

## Slide 39: Transformer Amperage (high and low side)

## Slide 40: Control Board Amperage

## Slide 41: Grounding
The ground in the main wiring system provides direct contact with the earth to allow voltages to discharge harmlessly into the ground. This is generally done by attaching the non-conducting metal to a ground rod that is sunk into the ground.

## Slide 42: Bonding
Is the act of joining two electrical conductors together generally associated with grounding and safety.
Methods for bonding are covered in the National Electrical codes.
Wiring used for grounding/bonding in HVAC equipment is generally green.