## Slide 1: Duct Design Basics

## Slide 2: Lesson 1 Friction Chart Primer 1.1 HVAC Airflow

## Slide 3
Typical AC Air Handler Unit

## Slide 4
Blower
A Coil
Filter
Return Air
Supply Air
Typical AC Air Handler Unit

## Slide 5
Typical AC Air Handler Unit
Airflow

## Slide 6
Typical AC Air Handler Unit
Airflow

## Slide 7
Typical AC Air Handler Unit
Airflow
Low Pressure
High Pressure

## Slide 8
Duct Friction Forms In Thin Layers
Or Air Films Near The Walls
Airflow

## Slide 9
Airflow Does Not Move in a Straight Line

## Slide 10
Elbow Throat Shape Effects Turbulence
Sharp Corners = More Turbulence
Sharp Corner

## Slide 11
Elbow Throat Shape Effects Turbulence
Round Corners = Less Turbulence
Round Corner

## Slide 12
Water Level
Duct Pressure = Outside air Pressure
(Pressure Neutral To Atmosphere In Duct)
Open to Atmosphere

## Slide 13
Water Level
Supply Duct Pressure ˃ Outside air Pressure
(Positive Pressure In Duct)
Open to Atmosphere

## Slide 14
Water Level
Return Duct Pressure ˂ Outside air Pressure
(Negative Pressure In Duct)
Open to Atmosphere

## Slide 15
Water Level
Return Duct Pressure ˂ Outside air Pressure
Open to Atmosphere

## Slide 16: Sloping the Scale Makes a Small Increase or Decrease in Water Pressure Larger
Water Column
Height Increase
Water Column
Length Increase On Scale

## Slide 17
Note: Most Duct Pressure Measurements Are Now Done Using An electronic Meter For Ease Of Use and Setup