## Slide 1: 16.0 Math Review 14.6 Working With TAB Equations

## Slide 2: First: Fan Law & Pump Law
CFMnew
CFMold
RPMold
RPMnew
=
GPMnew
GPMold
=
RPMnew
RPMold

## Slide 3: Using Equations 1st Pump Law
GPMnew
GPMold
RPMold
RPMnew
=
GPMnew
GPMold
=
RPMnew
RPMold
x

## Slide 4: Using Equations 1st Pump Law
GPMnew
GPMold
RPMold
RPMnew
=
GPMnew
GPMold
?
RPMnew
RPMold
= 8
= 10
= 1100

## Slide 5: Using Equations 1st Pump Law
8
10
1100
RPMnew
=
GPMnew
GPMold
?
RPMnew
RPMold
= 8
= 10
= 1100

## Slide 6: Using Equations 1st Pump Law
8
10
1100
RPMnew
=
8
10
1100
=
x
RPMnew
=
880

## Slide 7: Second: Fan Law & Pump Law
CFMnew
CFMold
SPold
SPnew
=
GPMnew
GPMold
=
ΔPnew
ΔPold
2
2

## Slide 8: Using Equations 2nd Fan Law
CFMnew
CFMold
SPold
SPnew
=
CFMnew
CFMold
= 900
SPnew
SPold
2
= 675
= 0.26
?

## Slide 9: Using Equations 2nd Fan Law
900
675
0.26
SPnew
=
CFMnew
CFMold
= 900
SPnew
SPold
2
= 675
= 0.26
?

## Slide 10: Using Equations 2nd Fan Law
900
675
0.026
SPnew
=
900
675
0.26
=
x
SPnew
=
0.462222
2
2

## Slide 11: Third: Fan Law & Pump Law
CFMnew
CFMold
BHPold
BHPnew
=
GPMnew
GPMold
=
BHPnew
BHPold
3
3

## Slide 12: Using Equations 3rd Fan Law
CFMnew
CFMold
BHPold
BHPnew
=
CFMnew
CFMold
= 900
BHPnew
BHPold
3
= 675
= 0.25
?

## Slide 13
900new
675old
0.25
BHPnew
=
CFMnew
CFMold
= 900
BHPnew
BHPold
3
= 675
= 0.25
?
Using Equations 3rd Fan Law

## Slide 14: Using Equations 2nd Fan Law
900
675
0.025
BHPnew
=
900
675
0.25
=
x
BHPnew
=
0.5926
3
3

## Slide 15: Using Equations 2nd Fan Law
CFMnew
CFMold
SPold
SPnew
=
CFMnew
CFMold
= 0.51
SPnew
SPold
2
= 675
= 0.26
?

## Slide 16: Using Equations 2nd Fan Law
CFMnew
675
0.26
0.51
=
CFMnew
CFMold
= 0.51
SPnew
SPold
2
= 675
= 0.26
?

## Slide 17: Using Equations 2nd Fan Law
CFMnew
675
0.26
0.51
=
2
=
1.96154

## Slide 18: Using Equations 2nd Fan Law
CFMnew
675
=
2
1.96154
CFMnew
675
2
=
1.96154
1/2
X 1/2

## Slide 19: Using Equations 2nd Fan Law
CFMnew
675
=
1
1.96154
CFMnew
675
=
1.96154
1/2
1/2
=
1.4

## Slide 20: Using Equations 2nd Fan Law
CFMnew
675
=
1.4
CFMnew
945
=
1.4 x 675
=
For the SPnew of 0.51 we have a CFMnew = 945