## Slide 1: 4.0 Equipment Installation Aspects (Section 4.7 System Controls)

## Slide 2: QI Procedures For System Controls
Requirements:
Confirmation of the control/safety selections made
Supporting OEM literature related to selections made
Verification of correct cycling/operational sequences of controls and safety devices/systems per system design and OEM specifications

## Slide 3: Accessory Evaluation (low Ambient)

## Slide 4: Accessory Evaluation (long line set)

## Slide 5: Control Wiring

## Slide 6: Control Wiring

## Slide 7: Control Wiring

## Slide 8: Condenser Control Wiring

## Slide 9: Control Boards
Most boards will require a tool that measures
voltage and amperage, some will require a tool
that measure millivolts and-or milliamps.

## Slide 10: Control Boards
Most boards will also be fused for overload protection.

## Slide 11: Measuring Ohms
A = V ÷ Ω

## Slide 12
A = V ÷ Ω
Ohm reading means
the fuse is good

## Slide 13
A = V ÷ Ω
Electronic Meters with
Ohm scales
(no power on fuse when
measuring ohms)

## Slide 14: Typical Furnace Control Board Wiring
Legend
R +24 Volt
Y Cooling
C Common
G Fan
AUX-E 1st Stage Gas Heat
U1 2nd Stage Gas Heat
S1 Outdoor Temp Sensor
S2 Outdoor Temp Sensor
O Reversing Valve
O/B Heat Pump Heating
C Common
O Y C R
G
U1
C
Thermostat
Heat Pump
Furnace Board
To Outdoor Temperature Sensors
R
Y
O/B

## Slide 15: Furnace Safety Switches
Flow Switches
Temperature
Switches

## Slide 16: Manual Reset Safety Switches
Reset Switches

## Slide 17: HVAC Cabinet Safety Switches
Overflow/Condensate

## Slide 18: HVAC Safety Switches

## Slide 19: Wire Resistance = Ohms
A = V ÷ Ω

## Slide 20: Checking Wire Sizing

## Slide 21: Wire Gauge
Stranded Wire

## Slide 22: Wire Gauge
Solid Wire

## Slide 23: Wire Lettering
THHN: heat resistant and flame-retardant insulated nylon coating (conduit)
THW: all of the above plus used underground
THWN: all of the above plus oil and gasoline resistant
XHHN: used for service entrance and is also designated as Service entrance cable
(type SE)

## Slide 24: Wire Lettering
UF-B 12/2 with Ground
THHN
THHN
THWN

## Slide 25: Wire Lettering
T: Thermoplastic Insulated Cable
N: Nylon Coating
H: Heat Resistant
W: Wet/Damp Locations
HH: Higher Heat Resistance (1940F)
X: Nylon Coating On Top Of Insulation Coating
U: Flat
UF-B: Outdoors (underground Feeder)

## Slide 26: Disconnects